# 1. SAILING ORDERS

## 1.1 SURVEY PLAN FOR

The survey will start and end in Las Palmas, Spain (Table \@ref(tab:SOcruiseplantab)).

### 1.1.1 Survey objectives

The overall objectives of the surveys were initially discussed in connection with the Eighth Session of the CECAF Scientific Sub-Committee (October 2018, Abidjan, Côte d’Ivoire) and later at the occasion of the meeting of the CECAF Working Group on the Assessment of Demersal Resources, sub-group North (December 2019, Nouakchott). The survey was also planned in the context of the second phase of the CCLME project (FAO, UNEP and participating countries in the region). This survey aims at covering the demersal resources in the deeper part of the shelf and the upper slope.  While fishery resources represent the key priority, other aspects are also addressed to improve knowledge on composition and diversity of demersal communities, of habitats, understanding the environmental conditions within which they are found, including the presence of marine debris.

Based on the above, the following is proposed (in a prioritized order):

- Obtain information on demersal fish abundance, species and size composition, and distribution.

- Standard biological sampling of priority species (including length, weight, sex and maturity).

- Standard sampling of environmental variables with CTD and water sampling (salinity, temperature, dissolved oxygen, fluorescence, dissolved nutrients, pH, total alkalinity, chlorophyll a).

- Measuring currents with an ADCP.

- Sampling of zooplankton and ichthyoplankton.

- Sampling with manta trawl for the presence of microplastics in surface waters.

- Sample epibenthic organisms occurring in the trawl.

- Collect sediment cores in selected sites to reconstruct development in OMZ.

Data will be used to prepare a survey report, and scientific reports/papers as part of the science plan. The data collected will also feed into regional resource assessment work (CECAF demersal Working Group North).

### 1.1.2 Survey area

The survey area is within one of the major upwelling regions of the world, characterised by high productivity and important pelagic and demersal fishery resources. Leg 2 (2.1 and 2.2) covers the demersal resources in the deeper part of the continental shelf and the upper slope of Northwest Africa, from Casablanca (Morocco) to the southern border of Guinée Figure \@ref(fig:surveyareamapSOfig). In some areas (e.g. north of Cap Bojador and off Senegal), bottom deeper than about 200 m depth can be rather uneven and unsuitable for trawling and sampling in these depths can be a challenge. It is recommended that positions of trawl stations from earlier surveys are used for identifying trawlable grounds.

Standard sampling will be carried out as during most surveys conducted by R/V _Dr Fridtjof Nansen_ (e.g., oceanographic conditions, including oceans pH and carbonate system, primary productivity, food safety, microplastics, marine debris, biodiversity, pelagic and demersal fish resources). Sampling protocols are standardized to the extent possible to allow comparability across larger geographic scales.

The survey will start on 29th Feb in Las Palmas and the vessel will then go straight to the southern limit (border between Guinea and Sierra Leone) and work it way northwards, with a change of crew in Las Palmas between leg 2.1 and 2.2 from 30th March – 1st April. The survey will then continue norwards, ending off Casablanca before returing to Las Palmas on 3rd May.

The area to be surveyed by the R/V _Dr Fridtjof Nansen_ in 2022 includes the continental shelf and upper slope off North-West Africa, from 50 to 1000 m (Figure \@ref(fig:surveyareamapSOfig)).

Standard sampling will be carried out as during most surveys conducted by R/V _Dr Fridtjof Nansen_ (e.g., oceanographic conditions, including oceans pH and carbonate system, primary productivity, food safety, microplastics, marine debris, biodiversity, pelagic and demersal fish resources). Sampling protocols are standardized to the extent possible to allow comparability across larger geographic scales.

### 1.1.3 Proposed participation in different legs and experience required

Typically, the surveys with the R/V _Dr Fridtjof Nansen_ include participations from different countries and institutions. Regarding qualifications, a mix of experienced scientists /technicians and less experienced ones, to receive training, will receive on-the-job training in sampling procedures. Scientists from Spain, and IEO (Instituto Español de Oceanografia) and the University of Vigo, will also be invited to deliver specific expertise, given their experience in the field of fisheries and marine habitats in the region. An overview of the main types of expertise and number of participants required for Leg 2 is provided in [ANNEX I](#ANNEX_I) and the list of the planned survey participants is shown in [ANNEX II](#ANNEX_II).

It should be noted that a maximum number of 19 local participants can be allowed, in addition to the scientific crew from Norway and the FAO taxonomy expert.

## 1.2 SCIENTIFIC RATIONALE

The overall framework and rationale for the surveys carried out by the R/V _Dr Fridtjof Nansen_ are provided by the EAF-Nansen Programme Science Plan which covers three main pillars (Figure \@ref(fig:scienceplanSOfig)). Within this framework, the scope and objectives of the surveys in 2021 have been identified with partners, based on national and regional priorities. In addition, data recorded, and samples collected during the survey will be analysed through collaborations initiated through the various Science Plan Themes.

An overview of the Science Plan themes for which this survey is most relevant and associated projects is provided in Table \@ref(tab:SOsciencethemestab).

### 1.2.1 Specific objectives and scientific questions for the survey

The specific objectives of the survey are listed below; the emphasis will be based on local needs and scientific importance.

- Hydrography:

  - To map the hydrographic and environmental conditions in the survey area (temperature, salinity, dissolved oxygen, chlorophyll-a, nutrients, pH, total alkalinity and ocean currents).

  - To obtain information on dissolved oxygen concentrations, ocean acidification and the calcium carbonate saturation state relevant for calcifying organisms

  - To capture OMZ and identify vulnerable or high-risk areas

  - Detect current patterns at different depth strata (ADCP), along the survey track.

- Primary productivity, zooplankton, ichthyoplankton and microplastics:

  - To describe the abundance and biomass patterns of meso-zooplankton community, as well as its species composition.

  - To provide information on the abundance patterns of ichthyoplankton community (fish eggs and larvae), at the lowest possible taxonomic level to identify possible spawning areas for commercial valuable fish species.

  - Map the occurrence of microplastics to identify hotspots or degree of pollution

- Demersal resources:

  - Species composition and diversity of the demersal community (all species caught in the bottom trawl)

  - Map occurrence of juvenile hake (_Merluccius_ spp.)

  - Total catch weight and numbers of all fish species caught in each bottom trawl haul.

  - Length-weight relationships for priority fish species caught in the bottom trawl measuring the length and weight of the first 100 invidual fish at each trawl station.

  - Length measurments and sex determination of selected shrimp species caught in the demersal haul. Up to 100 individual shrimp will be measured / determined sex of at each station. Species sampled will be: **_Parapenaeus longirostris_** and **_Aristeus varidens_**.

  - Determining sex and maturity staging and biological sampling of priority demersal resources caught in the bottom trawl:

**_Merluccius merluccius_**, **_M. senegalensis_**, **_M. polli_**, **_Pagellus bellottii_**, **_P. acarne_**, **_Pagellus_ spp.**, **_Dentex macrophthalmus_** and **_Pagrus caerueleostictus_**.

  - Swept-area biomass estimation of the following priority demersal resources:

**_Merluccius merluccius_**, **_M. senegalensis_**, **_M. polli_**,

**_Pagellus bellottii_**, **_P. acarne_**, **_Pagellus_ spp.** and

**_Dentex macrophthalmus_**.

  - To collect samples for analysis of parasites, genetics and morphometrics for selected species:

**_Merluccius merluccius_**, **_M. senegalensis_** and **_M. polli_**.

  - Frozen samples of whole sardinella for food safety analysis.

- Other trawl-related sampling:

  - Map occurrence, abundance and biological parameters (length, weight, sex, and maturity staging for males) of priority cartilaginous fish.

  - Collection of samples for taxonomic courses and further analysis in the framework of the EAF-Nansen Programme.

  - Record the occurrence of marine debris collected during demersal trawling by using the draft protocol and take photos for future inclusion in the protocol itself.

  - Record epibenthic macrofauna organisms

- Benthic studies (sediments and bathymetry):

  - Collect sediment samples for analysis of sediment and of benthic macrofauna, from box-corer deployments (species identification, abundance and species composition).

  - Bottom mapping (multibeam) along the cruise track (low resolution)

- Marine debris:

  - Map the occurrence of microplastics to identify hotspots or degree of pollution.

  - Record the occurrence of macro-litter collected during demersal trawling by using the draft protocol and take photos for future inclusion in the protocol itself.

- Other activities:

  - Paleo-reconstruction of OMZ through sediment core sampling.

  - On-the-job training in the various laboratories

  - Communication through social media

## 1.3 SAMPLING METHODS

### 1.3.1 Survey design

In Leg 2 the area will be surveyed for demersal species catch rates using bottom trawling. Specific environmental transects with superstations and box-core sediment sampling will be carried out at every third transect (every 1° Latitude). In addition, a CTD station will be carried out at each bottom trawl station.

The survey design will consist of parallel transects spaced 20 NM and perpendicular to the coast, with depth-stratified random sampling along the transects, from 50 to 1000 m.

**Depth stratification**

The depth stratification for the bottom trawl stations is as follows:

50-100 m, 100-200, 200-300, 300-500 m, 500-700 m, 700-1000 m.

**Superstations:  CTD, zooplankton and box-corer.**

CTD deployments will be carried at superstations along transects every 1° (60NM) as well as at every bottom trawl station. In addition, historical transects and oceanographic master stations will be covered with CTD deployments as in previous coverages.

Zooplankton sampling will also be carried out at stations along the environmental superstation transects (see above), using WP2 and Bongo nets.

Microplastic sampling using manta trawl will be carried out at the same stations as for zooplankton sampling.

Sediment sampling using box-corer will be carried out at the same stations as for zooplankton, with two grab deployments per station.

**Bottom trawl stations**

Bottom trawl stations for the estimation of catch rates of demersal resources will be placed at approximately the same positions as during the survey in 2011, to ensure comparability between the two surveys. The possibility to carry out additional bottom trawl stations will be explored depending on time availability.

Bottom trawls shallower than 300 m, shall as far as possible, only be taken during daytime. Deeper trawl hauls can be taken also at night-time.  Distance between trawl hauls should not be >15 NM.

Detailed sampling protocols for what is considered as standard sampling on DFN can be found in the Nansen wiki (https://nansen-surveys.imr.no/doku.php).

Other sampling protocols, area specific information and detailed description of the sampling conducted, will be given below.

### 1.3.2 Meteorological and hydrographic sampling in surface water

#### 1.3.2.1 Weather Station

Wind direction, wind speed, air pressure, relative humidity, air temperature and solar radiation data are averaged every 60 seconds and logged continuously from the Aanderaa Automatic Weather Station 2700.

#### 1.3.2.2 Thermosalinograph

A SBE 21 SeaCAT Thermosalinograph (TSG) runs continuously during the survey, obtaining samples at 4 m depth to measure seawater salinity and temperature every 10 seconds. The 4 m engine cooling water intake is also equipped with a Turner Designs C3 Submersible Fluorometer with added turbidity detection capability.

#### 1.3.2.3 Underway pCO2

Water from the vessel’s 4 m intake is pumped through the flow head of a CONTROS HydroC^®^ CO~2~ FT sensor for pCO~2~ measurements determined via IR absorption spectrometry.

#### 1.3.2.4 Current speed and direction measurements - ADCP

Ocean current data is collected with a vessel-mounted Teledyne RDI Ocean Surveyor Acoustic Doppler Profiler operating at 150 kHz with a depth range of 400 m. The ADCP runs in narrow band mode and averages data in 8 m vertical bins. Heading, pitch, roll and positional data are acquired by a Kongsberg Marine SEAPATH unit. Teledyne’s VmDAS software is used to collect the raw current data, whereas the data is processed using software created at IMR.

### 1.3.3 Hydrographic sampling in the water column

1.3.3.1 CTD

A Sea-Bird 911plus CTD with the following sensors is mounted to a 12-bottle rosette water sampler for use at every hydrographic station. All sensor data logging and real-time profiling is performed using Sea-Bird’s Seasave software.

- 2 x SBE 3Plus Temperature (‘T’) sensors

- 2 x SBE 4C Conductivity sensors for salinity (‘S’)

- Digiquartz Pressure (‘P’) sensor

- SBE 43 dissolved oxygen (‘DO’) sensor

- WET Labs ECO-AFL Fluorometer (‘F’)

- Satlantic Photosynthetically Active Radiation (‘PAR’) LOG ICSW sensor

CTD deployments will be carried out at every trawl station as well as at every station where environmental sampling is conducted (‘super-station’, see below), in accordance with IMRs Standard depth designations shown in Figure \@ref(fig:envtransectsSOfig). Additional sampling devices will be deployed for collection of plankton (including ichthyoplankton) and microplastics. The water samples from the rosette bottles will be used for measurements of pH, total alkalinity, dissolved nutrients (nitrite, nitrate, silicate and phosphate), dissolved oxygen, chlorophyll-a and salinity. Detailed sampling protocols for these parameters can be found in the Nansen manual site (http://nansen-surveys.imr.no/doku.php?id=ctd_lab_information).

1.3.3.2 Ocean Acidification parameters - pH and total alkalinity

Seawater samples for the analysis of pH and total alkalinity are collected together in 250 ml borosilicate glass bottles with silicone tubing. Samples are collected from the rosette water sampler in accordance with IMRs Standard Depth designations. If oxygen water samples are not being collected, these pH/AT samples will be collected first from the rosette bottles due to their gas sensitivity that will alter the pH.

- pH is determined using an Agilent Cary 8454 UV-Vis Diode Array spectrophotometer and a 2-mM m-cresol purple indicator dye solution. See the pH protocol for further details in addition to sampling and analysis procedures.

- Total alkalinity is determined via an open-cell potentiometric titration using a 0.05 M HCl solution with a sodium chloride background as the titrant (Dickson et al. 2007). See the total alkalinity protocol for further details in addition to sampling and analysis procedures.

To assess the ocean acidification state and change in the region, the pH and total alkalinity data will be combined with phosphate, silicate, temperature, salinity and depth to calculate additional parameters of the carbonate system such as dissolved inorganic carbon, pCO2 and the calcium carbonate saturation states for aragonite and calcite.

1.3.3.3 Dissolved Nutrients

Seawater samples for the analysis of nitrite, nitrate, silicate and phosphate are collected in 20 ml polyethylene vials. Samples are collected from the rosette water sampler in accordance with IMRs Standard Depth designations. Samples are frozen for preservation until analysis in January 2022 with a SEAL QuAAtro39 continuous segmented flow analyser.

### 1.3.4 Primary productivity

Seawater samples for the analysis of chlorophyll a and phaeopigments are collected in 269 ml high-density polyethylene bottles from depths ranging from 5 to 200 m. Samples are filtered with 25 mm Munktell MG F filters with 0.7 µm particle retention on a 200 mm Hg vacuum pumped filtration system. The filters are stored in a -20°C freezer until ready for extraction for 15-24 hours with 10 ml of 90% acetone at 4^o^C. Samples are then centrifuged and transferred to cuvettes for analysis on a Turner Designs 10AU Fluorometer (Welshmeyer, 1994; Jeffrey and Humphrey, 1975). Samples are first measured without acid for chlorophyll a determination and then a second time with two drops of 5% HCl for phaeopigment determination. The 10AU is calibrated approximately once a year with standards created from a chlorophyll a solid. See the chlorophyll a protocol for further details in addition to sampling and analysis procedures.

### 1.3.5 Zooplankton

Zooplankton samples are to be collected at selected superstations stations positioned at the isobaths 30 m, 100 m, 500 or 1000 m). Samples will be collected by vertical hauls of a WP2 net (56 cm diameter, mesh size 180 µm) at a speed of 0.5 m sec^-1^. The net will be towed **within 5 m from the bottom** to the surface, or from 200 m depth to the surface at deep stations. The plankton leader should ensure that this procedure is followed accurately on deck, write the actual depth of the tow (displayed in the monitor), and take flowmeter counts before and after the tow.

In summary, the WP2 samples will be processed as follows:

- The sample will be halved into parts with a Motoda splitter.

- One half will be used for biomass estimation (size fractionation through 2000 μm, 1000 μm and 180 μm mesh sizes)

- The second half will be preserved in 4% borax buffered formaldehyde solution and will be processed onboard through the FlowCam-Macro.

The exact procedure to be followed is described in detail in the Nansen Plankton Guidelines (see https://nansen-surveys.imr.no/doku.php?id=plankton_lab_information ).

### 1.3.6 Ichthyoplankton

Ichthyoplankton is collected at all zooplankton stations, with double oblique tows of a Bongo net equipped with 405 μm nets. The Bongo will be towed obliquely within 5 m from the bottom or a maximum depth of 200 m to the surface at deep stations. Wire speed and the vessel speed should strictly follow the Nansen Plankton Guidelines (see https://nansen-surveys.imr.no/doku.php?id=plankton_lab_information ).

Once the Bongo net is on board, the samples will be transferred in the lab and will be processed as follows:

- The sample of the right net (H) will be preserved directly in 95% ethanol.

- The sample of the left net (V) will be used for estimation of the Zooplankton Displacement Volume (details in the Nansen Plankton Guidelines). Afterwards, the sample will be examined under the microscope and all fish larvae (and eggs if possible) will be sorted out. Plankton examination should be done thoroughly and in small amounts. When sorting has finished, the bulk sample should be preserved in 4%  formlaldehyde solution (especially made for ichthyoplankton) in bottles labelled bottles as “sorted”. The sorted ichthyoplankton will be photographed and preserved with 4%  formlaldehyde solution (especially made for ichthyoplankton) in small labelled scintillation vials indicating clearly which net was used for sorting, the preservative, station etc. In case of lack of time or bad weather conditions, an alternative approach is to fix the total sample for ichthyoplankton without separating larvae from the sample onboard. However, to the extent possible this method should be avoided. More details on the sample processing can be found in the Nansen Plankton Guidelines (see https://nansen-surveys.imr.no/doku.php?id=plankton_lab_information ).

- If Bongo deployment is not possible due to net malfunction etc., ichthyoplankton will be sampled by Multinet (midi or mammoth) according to the instructions in the Nansen Plankton Guidelines (see https://nansen-surveys.imr.no/doku.php?id=plankton_lab_information ).

### 1.3.7 Benthos and benthic habitats

1.3.7.1 Bottom habitats

The EM 710 and EM 302 multibeam bottom mapping echosounders will be used to record and store bottom depth information in the Olex system onboard. The EM 710 is a high to very high-resolution seabed mapping system for depth <1500 m while the EM 302 is designed to map the ocean floor at depths down to 7000 m.

_Benthic macrofauna and sediment_

CHECK PROTOCOL

The benthic macrofauna sampled using a 0.1 m2 van Veen grab BOX CORER?. Three stations, at 50 m; 100 m and 500 m depth, to be sampled along the evironmental transect with superstations (every 1° latitude during the whole cruise - every third transect). Two replicates will be taken at each grab station. Sampling will be done in accordance with the Nansen Benthos Sampling Procedures (see: https://nansen-surveys.imr.no/lib/exe/fetch.php?media=nansen-surveys:benthos_benthos_sampling_procedure_nansen.pdf) and the Sampling Processing diagrams (see: https://nansen-surveys.imr.no/lib/exe/fetch.php?media=nansen-surveys:benthos_processing_benthos_samples_float_diagrams_for_general_overview.docx) .

Separate sediment into light- and heavy fraction and fix in 8% borax pre-buffered formaldehyde (formalin) or 95% ethanol.

Screen the heavy fraction through two sieves of mesh size 1.0 mm and 0.5 mm, the light fraction only through a sieve with mesh size 0.5 mm. Transfer the sediment retained in each sieve to plastic containers and label. Larger animals to be sorted out immediately and fixed on separate containers. For the samples fixed in ethanol, this to be changed within 24 hours and then again, the next day to secure the quality of the material.

### 1.3.8 Microplastics

A manta trawl (19 cm (height) × 61 cm (width), 335 μm mesh size) is towed outside the wake of the vessel at 3 knots (1.5 m/s) for 15 min at each plankton station. Procedures of sampling and sample processing are described in the Nansen Plankton Guidelines (see Nansen wiki). Sampling processing in summary involves sorting of:

**Microplastics:** These should be photographed, washed in fresh water and stored in labelled eppendorf tubes with the station information. Polymer identification to be done by ATR FTIR in Bergen.

**Larval fish:** These will be sorted, photographed, preserved in 96% ethanol for genetics in small scintillation vials.

The bulk of neuston samples after sorting should be preserved in 96% ethanol. In case of lack of time for analyses or bad weather, samples should be directly preserved in the same way and processed later.

### 1.3.9 Biological sampling for fisheries resources

Once the catch is on deck, it is assessed, and, if necessary, subsamples are taken. At all trawl hauls, the catch is sorted according to species, and length and weight measurements will be taken for all fish species using an electronic fish meter connected to a customized data acquisition system (Fish2Data and Biotic Editor) running on the server of the vessel. In addition, further biological sampling will be done for pre-agreed priority species (Table \@ref(tab:SObiosamplingtab)).

In [ANNEX III](ANNEX_III) and [ANNEX IV](ANNEX_IV), the fish lab workflow overview and guidelines on the detailed sampling protocols in the fish lab can be found. As a preparation for the work in the fish lab, a training course will be provided on the use of the electronic fish meter, Fish2Data and Biotic Editor software.

#### 1.3.9.1 Demersal fish

For all species caught the total catch weight and the total catch number shall be recorded.

Conduct length-weight measurements (up to 100 length and 30 weight measurements for each species caught), and standard biological sampling for all priority species at all stations that they are caught according to Table \@ref(tab:SObiosamplingtab). Further samples for genetics, and taxonomy will be taken for priority species according to the sampling protocols (Table \@ref(tab:SObiosamplingtab)).

The catch will be sorted, subsampled if necessary, and subsamples will be taken to measure number and weight by taxon. Taxa in the catch are to be identified to the lowest possible taxonomic level. At each trawl haul, length measurements will be taken for all priority species (Table \@ref(tab:SObiosamplingtab)) with an Electronic Fish Meter connected to a customized data acquisition system (Sea2Data).

Length frequencies and standard biological sampling for all priority species at all stations they are caught are given in Table \@ref(tab:SObiosamplingtab). Also, length frequency of any species that may be abundant in the catches.

**Stratification of sampling of priority species at each trawl station**

Length and weight: 100 fish (all fish with less than 100 individuals in the catch).

Sex, maturity and otoliths: 1 fish per 5cm length group at all stations.

The sampling protocol will be programmed into the Fish2Data software and be installed on the iPads used during the measurement of length and weight.

**Samples for parasites, genetics and morphometrics**

From the _Merluccius_ species sampled for sex, maturity and otoliths take additional samples as follows:

- 5 small (<40 cm TL) and 5 large (>40 cm TL) hake of each species are to be collected per 1° latitude (i.e.  28-29°S, 29-30°S, etc) or longitude (i.e. 20-21°E, 21-22°E, etc) block along the coast; totals to 10 fish per species per 1° block.

- The distal 5 mm of the left pectoral fin (i.e. a 0.5cm fin clip) is to be removed and stored in a labelled (label sequentially from HKC-001(NAM/SA) or HKP-001(NAM/SA) onwards) plastic vial containing 97% ethanol.

- The station number, depth, size and sex of fish are to be recorded on the label.

- The fin clipped whole fish (DO NOT CUT OPEN ENTIRE BODY CAVITY TO SEX) are to be labeled (trawl number and date, and latitude/longitude degree block), bagged and frozen, with the samples separated by species (i.e. don’t mix) and by 1° block.

- A logbook recording the numbers of fish per sample is to be kept.

#### 1.3.9.2 Pelagic fish

No acoustic biomass estimation is planned for the survey

#### 1.3.9.3 Other trawl-related sampling

#### 1.3.9.3.1 Fish and macroinvertebrates samples for regional taxonomy course and post-survey taxonomic studies

Representative samples of selected families will be retained from the trawl catches to be used for the practical sessions of the taxonomy training course. The families for the taxonomy course can be found in and [ANNEX V](ANNEX_V) (Table \@ref(tab:SOtaxonomytab)) and is intended to provide collectors with a broad selection of taxa that might be available in the catches with the goal of having enough variety of species/families and enough specimens. The detailed sampling protocol and list of species groups to be sampled can be found in and [ANNEX V](ANNEX_V).

#### 1.3.9.3.2 Cartilaginous fish

Individual length and weight , sex and maturity status shall be measured of all cartilaginous fish caught. Vulnerable species that are alive shall be released as soon as possible after the catch is on deck. If the individuals are too large to weight individually only length is to be measured.

The protocol that will be followed for cartilaginous will be the same as for demersal / pelagic resources described above. Specimens for taxonomic courses will be collected also following the protocol described above. Species that cannot be identified should be preserved in formalin or frozen (and labelled according to the procedure above) and sent to taxonomic experts for identification after the survey

#### 1.3.9.3.3 Samples for food safety studies and nutrition

From stations with catches of Sardinella, and anchovy, samples  will be taken and analysed for nutrients profiles, contaminants and microplastics.

A total of 25 specimens  of each species at 3 different stations will be frozen and later analyzed for determination of nutrients and food safety parameters.  If catches are small,  sample a minimum of 5 fish from each station.

The fish will be stored in plastic bags marked with species, station, and date. The trawl form with station information should follow the samples. An electronical copy should be sent to marian.kjellevold@hi.no.

#### 1.3.9.3.4 Marine debris

Marine debris will be registered and classified at each station according to the categories listed in the sampling protocol for marine litter (https://nansen-surveys.imr.no/doku.php?id=biological_sampling_procedures). All pieces of litter should be weighed and counted, and when possible, photos should be taken of the individual pieces for a reference catalogue. Data should be recorded in designated Excel sheet and photos  should be clearly labelled and saved in a folder in the work catalogue marked 'Marine Debris'.  One person from each shift will be responsible for recording this data.

#### 1.3.9.3.5 Epibenthos

For epibenthos sampling, specimens in the trawl catches will be identified and pictures of all epibenthos (one picture per trawl, all species included, see Figure \@ref(fig:epibenthosSOfig)) should be taken. Sampling will be done in accordance with the Nansen Benthos Sampling Procedures (see: https://nansen-surveys.imr.no/lib/exe/fetch.php?media=nansen-surveys:benthos_benthos_sampling_procedure_nansen.pdf) and the Sampling Processing diagrams (see: https://nansen-surveys.imr.no/lib/exe/fetch.php?media=nansen-surveys:benthos_processing_benthos_samples_float_diagrams_for_general_overview.docx) .

MORE DETAILED PROTOCOL NEEEDED?

A representative collection of samples to be preserved in alcohol (80%) or formalin (4%) solutions, for posterior analysis in laboratory.

#### 1.3.9.4 Demersal fish biomass estimated based on the swept area method

The biomass indices of priority demersal fish (see below) will be estimated by the swept area method (https://nansen-surveys.imr.no/doku.php?id=biomass_calculations) using the StoX [StoX (stoxproject.github.io)] software. Biomass indices will be estimated as total biomass and by length groups (for the species with suffient length data). Prior to the survey EAF Nansen Programme carried out a demersal biomass estimation course specifically aimed at this region, and the survey participants who took part in the course will be given the chance to apply their newly aquired skills in biomass estimation using StoX.

Priority demersal species for biomass estimation by the swept-area method will be:

- _Merluccius merluccius_, _M. senegalensis_ and _M. polli_

- _Pagellus bellottii_, _P. acarne_, _Pagellus_ spp.

- _Dentex macrophthalmus_

## 1.4 DATA COLLECTED AND STANDARD PROCEDURE FOR HANDING OVER SAMPLES TO PARTNERS

In line with the Nansen Data Policy, the Cruise Leader is to ensure that each national institution represented in the survey receives a copy of the draft report and the basic data (e.g. catch data) pertaining to the particular survey and for their national waters before leaving the vessel. An overview of the equipment that is going to be used for the collection of the various data can be found in Table \@ref(tab:SOequipmenttab) ([ANNEX VI](ANNEX_VI)). The different types of data expected to be recorded, their storage and delivery can be found in Table \@ref(tab:SOdatahandovertab) ([ANNEX VII](ANNEX_VII)). Finally, the samples to be collected, their preservation and planned follow-up work is detailed in Table \@ref(tab:SOcollectedsamplestab) ([ANNEX VIII](ANNEX_VIII)). The Cruise Leader is expected to document what data and samples has been shared and with whom.

The cruise participants are expected to sign and conform the Data policy of the EAF-Nansen Programme.

Persons responsible for samples need to inform about the status of analysis, and report about this at the post-survey meeting as well as send a copy of the analysis/results to IMR (nansen_data@hi.no). IMR, as a data custodian for the EAF-Nansen Programme, is required to have an overview of the samples/analysis at any point in time to;

- ensure that data life-cycle management is carried out in the expected way

- be used for capacity building purposes (e.g. workshops, training courses, etc.)

- Advance collaboration and publishing through the EAF-Nansen Science Plan

- Maintain reference libraries (e.g., for taxonomic purposes) and DNA barcoding

- Plan efficiently future surveys in the same area.

## 1.5 REFERENCES

## 1.6 ANNEXES

### 1.6.1 ANNEX I. Requested participation

### 1.6.2 ANNEX II. Planned participation

### 1.6.3 ANNEX III. Fish lab workflow

### 1.6.4 ANNEX IV. Scales used for biological sampling

### 1.6.5 ANNEX V. Survey-specific additional sampling

For each of the selected families (see table below) 2-3 specimens in good conditionwill be retained from the demersal trawl catches to be used for the practical sessions of the taxonomy training course and for further scientific analysis. The list is intended to provide collectors with a broad selection of taxa that might be available in the catches with the goal of having enough variety of species/families as well as sufficient specimens (Table \@ref(tab:SOtaxonomytab)).

For the purpose of the training course, selected specimens should be: 1) in good conditions, 2) placed in plastic bags, 3) preserved in frozen condition and 4) stored in the large walk-in freezer of the vessel. Survey leg/country (and receiving institute) should be clearly visible on the outside of the box containing the specimens.

Specimens included in a list of relevant/problematic taxa will be retained for post-survey taxonomy studies. For this activity, the collectors will follow a standard step-by step sampling procedure (protocol available among the survey documents). Specimens, will be: 1) photographed in fresh condition, 2) labelled, 3) tissue sampled, 4) measured, 5) registered on a excel spreadsheet and 6 preserved either in frozen condition (e.g. large specimens such as sharks) or fixed in formalin barrels (small, medium-size specimens) and 7) sent to an agreed museum/scientific institute for curation and long-term storage.

#### 1.6.5.1 Sampling procedure

#### 1.6.5.2 STEP 1

Prepare pre-printed waterproof tags with survey number and a unique running number (see file ‘Tags for sampling R/V _Dr Fridtjof Nansen_’). Assign to each sampled specimen a unique running number and include on the tag station number by pencil. Measure the specimen and include all information in the excel spreadsheet (see Table \@ref(tab:SOaddsamplingtab)).

#### 1.6.5.3 STEP 2

Take a photo of the fish in a way that the preprinted waterproof tag and ruler are clearly visible on the background (see Figure \@ref(fig:examplephotoSOfig)). The fish should be photographed on its left side with the fins well extended (use needles to pin them). Please select specimens with the mouth closed. If this is not possible, try to pin the mouth close with the help of needles. Take dorsal and ventral views photos of pleuronectiforms and batoids. Other fishes with strongly depressed bodies (e.g. Lophiidae, Ogcocephalidae, etc.) should be photographed from dorsal view. Fishes with chin barbels (e.g. Mullidae) should be photographed with the barbels exposed. Take close-up photos of important diagnostic characters such as rostral ridges and inner part of pectoral fin in Triglidae; shape of esca in Antennariidae; palatal teeth in Ariidae; light organ in _Physiculus_ (Moriidae), etc.

#### 1.6.5.4 STEP 3

Cut off the small running number included at the bottom of the waterproof tag (it corresponds to the running number printed on the same tag) and place it inside the vial together with the fin clip taken from the specimens’ right pelvic fin. Use high concentration (95%) ethanol for fixation. Please remember to wash forceps and scissors with 95% ethanol in-between different samples. The vial containing the fixed fin clip should then be stored inside a white box, which has numbered slots corresponding to the running numbers (see example Figure \@ref(fig:bonyfishSOfig)). For cartilaginous fishes use the same procedure but take a small sample of muscle tissue (about the size of a finger nail) from just posterior to pelvic fins, on the ventral side on the body (see example PPT files and Figure \@ref(fig:cartilagSOfig)).

#### 1.6.5.5 STEP 4

For medium-large fish attach the tag on the caudal peduncle of the sampled fish (just below the vertebral column, see Figure \@ref(fig:taggingbonyfishSOfig)) by using a tagging gun (see example Figure \@ref(fig:taggunfastenersSOfig)). For small fish (less than 10 cm TL) draw 4-5 holes in a small/medium zip-lock plastic bag and place the fish and the corresponding label inside (Figure \@ref(fig:taggingbonyfishsmallSOfig)). For large sharks and rays the tag can be attached to the right pelvic fin. If a tagging gun is not available or not working, the label can be attached by passing a piece of thread from the right gill opening into the mouth.

#### 1.6.5.6 STEP 5

Place all tagged specimens from the survey in 30L barrels filled with 10% formalin solution. For large specimens (more than 40 cm) inject 10% formalin into the body cavity with a syringe before placing them into the barrels. If you have more than one specimen belonging to the same lot put them all together inside a plastic bag with holes before placing them into the formalin barrel. The formalin barrels should be placed in the small storage room on the Port side of the ship (next to the cold room) and secured with rope to the wall (Figure \@ref(fig:barrelsSOfig)). Make sure that the barrels are not too crowded and that all specimens are fully immersed in the formalin solution. Fishes that are too large (e.g. some sharks, batoids ) to fit into the 30L barrels should be stored frozen individually or placed together into polystyrene boxes in the large walk-in freezer of the vessel (Figure \@ref(fig:boxesSOfig)). Make sure that the survey leg and region/country (and recipient) are clearly visible on the outside of the plastic bag (see example photo).

#### 1.6.5.7 STEP 6

Before the end of the survey prepare a commercial invoice (see Commercial_invoice_UWC) and move the barrels into the adjacent cold room and attach to them labels with the following information: 1. Content (Taxonomy samples): 2. Survey number; 3. preservation mode; 4. Reference person (usually the collection manager/curator or scientist who will be receiving the samples); 5. Destination institute/museum.

A log sheet is to be kept with an overview of the collected specimens. The log should contain the following information:

- Species name

- Station number

- Number of individuals preserved

The log is to be sent to peter.psomadakis@gmail.com at the end of the survey, together with trawl station information data.

**Fish samples for IMR internal courses and training **

Representative specimens from selected families/genera will be frozen in clearly labelled zip lock bags.

One or two specimens of each species, from the list provided are to be preserved. Specimens in good conditions should be chosen. These samples are to be sent to IMR and preserved for training purposes.

If deep-water hauls are carried out, specimens are also to be preserved for training purposes and included to the list for IMR. A log sheet is to be kept (with survey number, station number and a comment with picture name if a picture is taken).

### 1.6.6 Annex VI. Overview of component sampled and equipment used during the survey

### 1.6.7 Annex VII. Data to be collected and handover plan

### 1.6.8 Annex VIII. Samples to be collected, preservation and follow-up work

# 2. END